## Metadata
Overview
This sheet is for entering water quality data collected at the UCI San Joaquin Marsh Reserve from routine, dry weather (not storm water) sampling events. Sampling is done by submerging probe by staff locations or mid points of ponds, roughly 6" or 15cm from surface.
Management Unit | name of pond or water body sampled
Date | dd/mm/yyyy
Time | when sample was taken
Sampling Method | in situ indicates probe was submerged, kayak vs waders, also extended pole sampler used for San Diego Creek locations where wading or kayaking not feasible.
Net productivity sample | was this part of NPP dusk dawn dusk sampling (Y or N)
Weather | description of weather while sampling
Tide | tide when sampling, especially relevant for creek samples
Staff Gauge Reading | Where applicable, water level read off of staffs in ponds. Unit is tenths of feet.
Estimated water column depth | Where no staffs, estimate of water depth where sampled, in feet.
pH | Note this parameter has been unreliable depending on probe function throughout the years.
Temp Surface Reading | Temperature read from surface-defined as just submerging probe in water, roughly 15cm.
EC Surface
TDS Surface | Total Dissolved Solids, TDS in parts per thousand
Salinity Surface | Salinity read just below surface, in ppt.
D.O Surface | Dissolved Oxygen, in mg/L.
D.O. Temp | Temperature as read from DO probe (to compare with other probe temps and assure that DO probe temp is aligned with DO probe reading)
Temp Deep Reading | Deep readings only taken at the San Diego Creek sampling locations, which were dropped in recent years due to time constraints. Defined as mid water column where sampling.
EC Deep
TDS Deep
Salinity Deep
pH Deep
D.O Deep

## ALL
Management Unit | Date | Time | Sampling Method | Team | Net productivity sample | Weather | Tide | Staff Gauge Reading | Estimated water column depth | pH | Temp Surface Reading ºC | EC Surface mS | TDS Surface ppt | Salinity Surface ppt | D.O Surface mg/L | D.O. Temp | Temp Deep Reading | EC Deep | TDS Deep | Salinity Deep | pH Deep | D.O Deep | Notes
Refer to map for pond #s, marsh units | mm/dd/yyyy | 24hr | How was sample taken? Wading, kayak, etc. | Who sampled? | Y/N | Temp, conditions | High/Med/Low | ft, gradations in 10ths | ft, gradations of inches |  | degrees C | mS | ppt | ppt | mg/L | degrees C | degrees C | mS | ppt | ppt |  | mg/L | anything that might affect water quality-inverts, algae, temp, weather, etc
Intake at Campus Dr | 2020-02-27 | 0.35417 | staffs not installed yet, gauge reading is estimated water column depth from cord | jec | N | cloudy | Med rising | NA | 2.5 | 7.22 | 12.5 | 3.001 | 3.791 | NS | 6.86 | NS | NS | NS | NS | NS | NS | NS | Heavy disturbance to soil from brush cleaning. Water is visibly turbid, with soil suspended in water.
Upper Marsh | 2020-02-27 | 0.38333 | staffs not installed yet, gauge reading is estimated water column depth from cord | jec | N | cloudy | High rising | NA | 2.9 | 6.67 | 11.4 | 3.163 | 3.99 | NS | 2.11 | NS | 11.1 | 3.161 | NS | NS | NS | 1.46 | aquatic plants within 1ft of surface
Middle Marsh | 2020-02-27 | 0.45486 | paddleboard. Staff not installed yet, gauge reading is estimated water column depth from cord | jec | N | cloudy | High | NA | 3.3 | 7.15 | 14.6 | 3.121 | 3.958 | NS | 3.98 | NS | 11.6 | 3.182 | 4.012 | NS | NS | 2.48 | good clarity
Pond 11 | 2020-02-27 | 0.40139 | staffs not installed yet, gauge reading is estimated water column depth from cord | jec | N | cloudy | High rising | NA | 4.9 | 7.5 | 13.6 | 1.258 | 1.583 | NS | 3.6 | NS | 14.9 | 1.911 | 2.408 | NS | NS | 3.93 | cattails on edge mowed, zooplankton present, dead plant debris
Pond 8 | 2020-02-27 | 0.42708 | staffs not installed yet, gauge reading is estimated water column depth from cord | jec | N | cloudy | High | NA | 1.3 | 8.51 | 15.2 | 10.75 | 13.66 | NS | 20.45 | NS | NS | NS |  | NS | NS | NS | POND 3 not sampled bc it was dry, DO jumps from 9 to 24mg/L, Lots of alge bloom in the water, green water, and no stability of D.O
Pond 5 | 2020-02-27 | 0.40833 | staffs not installed yet, gauge reading is estimated water column depth from cord | jec | N | cloudy | High | NA | 2.4 | 7.2 | 17.6 | 6.69 | 8.522 | NS | 7.99 | NS | 16.8 | 6.794 | 8.492 | NS | NS | 8.79
Lower Marsh | 2020-03-03 | 0.39028 | staffs not installed yet, gauge reading is estimated water column depth from cord | jec | N | sunny, clear | Low falling | NA | 2.3 | 7.4 | 13.9 | 3.425 | 4.342 | NS | 3.94 | NS | 13.7 | 3.453 | 4.359 | N/A | NS | 3.6
Upper SD creek | 2020-03-03 | 0.45278 |  |  | N | sunny, clear | Low | NA | NS | 7.2 | 20.2 | 8.193 | 11.33 | NS | 9.66 | NS | NS | NS | NS | NS | NS | NS | free flowing
Middle SD creek | 2020-03-03 | 0.42361 | staffs not installed yet, gauge reading is estimated water column depth from cord | jec | N | sunny, clear | Low | NA | 0.8 | 7.59 | 18.3 | 3.78 | 4.893 | 5.278 | 9.91 | NS | NS | NS | NS | NS | NS | NS
Lower SD creek | 2020-03-03 | 0.45903 |  |  | N | sunny, clear | Low | NA | NS | 7.72 | 18.1 | 3.751 | 4.763 | 5.428 | 9 | NS | NS | NS | NS | NS | NS | NS
Upper SD creek | 2020-04-17 | 0.40972 | only SDC locations sampled |  | N | Cloudy | Med | NA | NS | 4.12 | 20.1 | 2.293 | 2.917 | 3.157 | 7.13 | NS | NS | NS | NS | NS | NS | NS | Only sampled San Diego Creek due to problems with covid and access to San Joaquin Marsh Reserve
Middle SD creek | 2020-04-17 | 0.39583 | Extended Pole Sampler |  | N | Cloudy | High falling | NA | NS | 7.3 | 21.5 | 2.3 | 2.99 | 3.22 | 7.56 | NS | NS | NS | NS | NS | NS | NS | Min Han
Lower SD creek | 2020-04-17 | 0.44444 | Extended Pole Sampler |  | N | Cloudy | Low falling | NA | NS | 8.51 | 21 | 2.384 | 3.033 | 3.279 | 6.58 | NS | NS | NS | NS | NS | NS | NS | Min Han
Intake at Campus Dr | 2020-06-15 | 0.33056 |  |  | N |  | High falling | NA | 0.98 | NS | 22.6 | 10.36 | 4.155 | 4.647 | 2.58 | NS | NS | NS | NS | NS | NS | NS
Upper Marsh | 2020-06-15 | 0.31042 | waded in |  | N |  | High falling | NA | 2.13 | NS | 20 | 8.615 | 3.76 | 3.841 | 0.95 | NS | 20.3 | NS | NS | NS | NS | NS | Smells super anoxic
Pond 11 | 2020-06-15 | 0.25486 | Paddle board |  | Y |  | High | NA | 3.61 | NS | 22.5 | 13.79 | 5.515 | 6.308 | 2.98 | NS | 21.6 | 18.72 | 7.12 | 8.453 |  | 0.5
Pond 11 | 2020-06-15 | 0.825 | Paddle board |  | Y |  | High falling | NA |  | NS | 26.3 | NS | NS | NS | 7.86 | NS | NS | NS | NS | NS | NS | NS
Pond 8 | 2020-06-15 | 0.24028 | Waded in |  | Y |  | High | NA | 1.97 | NS | 24.6 | 17.36 | 6.945 | 8.108 | 4.99 | NS | NS | NS | NS | NS | NS | NS | atmospheric weather is cold but the water is very warm. There is a slight blanket of water vapor covering the surface of the water.
Pond 8 | 2020-06-15 | 0.81667 | Waded in |  | Y |  | High falling | NA |  | NS | 27.1 | NS | NS | NS | 9.38 | NS | NS | NS | NS | NS | NS | NS
Pond 5 | 2020-06-15 | 0.27986 | Waded in |  | N |  | High falling | NA | 2.3 | NS | 24.1 | 15.1 | 6.043 | 6.917 | 6.5 | NS | 24.4 | 15.08 | 6.031 | 6.945 | NS | 5.97 | warm water in the morning. Sampled while we were out there for productivity, but not a productivity related sample
Pond 11 | 2020-06-16 | 0.26458 | Paddle board |  | Y |  | High rising | NA |  | NS | 23.5 | NS | NS | NS | 3.26 | NS | NS | NS | NS | NS | NS | NS
Pond 8 | 2020-06-16 | 0.24028 | Waded |  | Y |  | High rising | NA |  | NS | 24.6 | NS | NS | NS | 5.26 | NS | NS | NS | NS | NS | NS | NS
Lower Marsh | 2020-06-16 | 0.2875 | Waded in |  | N |  | High falling | NA | 1.31 | NS | 21.9 | 11.72 | 4.688 | 5.342 | 1.59 | NS | NS | NS | NS | NS | NS | NS | Cold Water and cold temperature
Upper SD creek | 2020-06-16 | 0.40972 | Extended Pole Sampler |  | N |  | Med falling | NA |  | 4.12 | 20.1 | 2.293 | 2.917 | 3.157 | 7.13 | NS | NS | NS | NS | NS | NS | NS
Middle SD creek | 2020-06-16 | 0.39583 | Extended Pole Sampler |  | N |  | Med falling | NA |  | 7.3 | 21.5 | 2.3 | 2.99 | 3.22 | 7.56 | NS | NS | NS | NS | NS | NS | NS
Lower SD creek | 2020-06-16 | 0.44444 | Extended Pole Sampler |  | N |  | Low falling | NA |  | 8.51 | 21 | 2.384 | 3.033 | 3.279 | 6.58 | NS | NS | NS | NS | NS | NS | NS
Middle Marsh | 2020-06-24 | 0.24653 |  |  | Y | overcast | Low | NA | 3.67 | NS | 21 | NS | NS | NS | 0.71 | NS | NS | NS | NS | NS | NS | NS | dawn NPP sample Megan Lulow
Hoag | 2020-06-24 | 0.25694 |  |  | Y | overcast | Low | NA | 2.82 | NS | 22 | NS | NS | NS | 2.37 | NS | NS | NS | NS | NS | NS | NS | dawn NPP sample Megan Lulow
Pond 3 | 2020-06-24 | 0.26389 |  |  | Y | overcast | Low rising | NA | 2.82 | NS | 21 | NS | 4.38 | NS | 0.62 | NS | NS | NS | NS | NS | NS | NS | dawn NPP sample Megan Lulow
Middle Marsh | 2020-06-24 | 0.79861 |  |  | Y |  | High | NA | 2.49 | NS | 25.6 | NS | NS | NS | 4.65 | NS | NS | NS | NS | NS |  | 0.58 | Sampled as sun was setting, 1-2 in thick algal matt nearby, slight anoxic smell.
Pond 3 | 2020-06-24 | 0.79167 |  |  | Y |  | High | NA | 2.69 | NS | 22.9 | NS | NS | NS | 1.79 | NS | 23.2 | NS | NS | NS | NS | 0.53
Hoag | 2020-06-24 | 0.8125 |  |  | Y |  | High rising | NA | 1.87 | NS | 23.1 | NS | NS | NS | 4.02 | NS | 25.3 | NS | NS | NS | NS | 3.37 | Some algae in shallower edge of pond
Middle Marsh | 2020-06-25 | 0.24653 |  |  | Y |  | Low | NA | 3.67 | NS | 21.2 | 8.87 | 3.925 | NS | 0.78 | NS | NS | NS | NS | NS | NS | NS | no pH probe
Hoag | 2020-06-25 | 0.25694 |  |  | Y |  | Low | NA | 2.82 | NS | 21 | 10.44 | 4.177 | NS | 2.1 | NS | NS | NS | NS | NS | NS | NS | no pH probe
Pond 3 | 2020-06-25 | 0.26042 |  |  | Y |  | Low | NA | 2.82 | NS | 21.8 | 11.15 | 4.449 | NS | 0.68 | NS | NS | NS | NS | NS | NS | NS | no pH probe
Intake at Campus Dr | 2021-02-13 | 0.37639 | Drop in |  | N | Sunny, some wind | High rising | NA | NA | 7.68 | 13.1 | 3.049 | 4.075 | 4.443 | 12.38 | NS | NS | NS | NS | NS | NS | NS
Upper SD creek | 2021-02-13 | 0.40972 | Extended Pole Sampler |  | N | Sunny, some wind | High | NA | NA | 8.31 | 15.4 | 2.529 | 3.365 | 3.668 | 20.92 | NS | NS | NS | NS | NS | NS | NS | good stream flow.
Middle SD creek | 2021-02-13 | 0.43194 | Extended Pole Sampler |  | N | Sunny, some wind | High falling | NA | NA | 7.94 | 16.3 | 11.41 | 15.21 | 18.66 | 6.34 | NS | NS | NS | NS | NS | NS | NS | water clearer than upper creek
Lower SD creek | 2021-02-13 | 0.45833 | Extended Pole Sampler |  | N | Sunny, some wind | High falling | NA | NA | 7.76 | NS | 45.5 | 60.73 | Over | 18.55 | NS | NS | NS | NS | NS | NS | NS | water was flowing upstream, tidal flow from Newport Bay
Middle Marsh | 2021-02-15 | 0.52639 | wade in |  | N | 55F, Sunny | High falling | 3.15 | NA | 6.79 | 15.3 | 2.72 | 3.625 | 3.936 | 14.58 | NS | 14.4 | 2.753 | 3.67 | 4.015 | 6.83 | 10.15
Upper Marsh | 2021-02-15 | 0.39861 | wade in |  | N | 55F, Sunny | Med rising | 3.3 | NA | 7.1 | 11.2 | 2.954 | 3.918 | 4.2 | 1.23 | NS | 11 | 2.963 | 3.934 | 4.224 | 7.18 | 8.15 | sunny, murky water, aquatic plants
Pond 11 | 2021-02-15 | 0.43056 | Kayak |  | N | 55F, Sunny | High rising | 5.8 | NA | 7.55 | 13.8 | 3.362 | 4.486 | 5.018 | 6.37 | NS | 13.4 | 6.232 | 8.104 | 9.486 | 6.74 | 3.88 | D.O was all over the place. Wind ripples
Pond 8 | 2021-02-15 | 0.45972 | wade in |  | N | 55F, Sunny | High | 3.3 | NA | 7.89 | 15.4 | 3.974 | 5.279 | 5.935 | 21.49 | NS | 15.3 | 3.997 | 5.339 | 5.943 | 7.82 | 27.8 | Lots of wildlife
Pond 5 | 2021-02-15 | 0.47222 | wade in |  | N | 55F, Sunny | High | >4 | NA | 7.27 | 16.4 | 3.084 | 4.15 | 4.626 | 21.43 | NS | 15.2 | 3.993 | 5.314 | 5.995 | 7.51 | 15
Intake at Campus Dr | 2021-04-09 | 0.39722 | Drop in |  | N |  | High falling | NA | NA | 7.42 | 16.2 | 2.485 | 3.395 | 3.629 | 2.84 | NS | NS | NS | NS | NS | NS | NS
Upper SD creek | 2021-04-09 | 0.43264 | Extended Pole Sampler |  | N |  | Med falling | NA | NA | 8.29 | 21.9 | 2.266 | 3.018 | 3.315 | 4.44 | NS | NS | NS | NS | NS | NS | NS | 23.3C with DO sensor
Lower SD creek | 2021-04-09 | 0.46528 | middle creek not sampled |  | N |  | Med falling |  | NA | 8.23 | 22.2 | 15.13 | 22.43 | 29.31 | 5.03 | NS | NS | NS | NS | NS | NS | NS | Middle SD Creek not sampled, couldn't find intake
Upper Marsh | 2021-04-12 | 0.38889 | Waded in |  | N | cloudy 59F | High rising | 2.1 | NA | 6.98 | NS | 2.429 | 3.232 | 3.541 | 0.91 | NS | NS | 2.439 | 3.234 | 3.533 | NS | 0.66
Pond 11 | 2021-04-12 | 0.41181 | Kayak |  | N | cloudy 59 | High rising | 5.6 | NA | 7.01 | NS | 3.351 | 3.371 | 3.727 | 2.05 | NS | NS | 2.512 | 3.345 | 3.623 | NS | 1.85
Pond 8 | 2021-04-12 | 0.42639 | Waded in |  | N | cloudy 59F | High | 3.8 | NA | 7.89 | NS | 4.902 | 6.505 | 7.523 | 2.82 | NS | NS | 4.369 | 5.822 | 6.719 | NS | 2.24
Pond 5 | 2021-04-12 | 0.44097 | kayak |  | N | cloudy 61F | High | 4.5 | NA | 7.22 | NS | 3.907 | 5.951 | 5.961 | 0.75 | NS | NS | 3.909 | 5.211 | 5.955 | NS | 0.54
Lower Marsh | 2021-04-12 | 0.46875 | Waded |  | N | Cloudy | High falling | 2 | NA | 7.49 | NS | 4.124 | 5.461 | 6.141 | 1.44 | NS | NS | NS | NS | NS | NS | NS
Middle Marsh | 2021-05-27 | 0.4125 | wade in |  | N |  | High rising | 2.3 | NA | 6.43 | 21.4 | 3.804 | 4.027 | 4.501 | 4.58 | 24.1 | NS | NS | NS | NS | NS | NS | ph probe on its way out, treat values skeptically
Upper SD creek | 2021-05-27 | 0.38681 | Extended Pole Sampler |  | N |  | Med | NA |  | 6.43 | 25.9 | 3.714 | 4.345 | 4.838 | 2.81 | 23.3 | NS | NS | NS | NS | NS | NS | ph probe on its way out, treat values skeptically
Middle SD creek | 2021-05-27 | 0.375 | Extended Pole Sampler |  | N |  | Med |  | NA | 6.7 | 22.7 | 26.9 | 28.62 | 38.45 | 3.01 | NS | NS | NS | NS | NS | NS | NS | ph probe on its way out, treat values skeptically
Lower SD creek | 2021-05-27 | 0.35764 |  |  | N |  | Low rising | NA | 2 | 6.96 | 23.6 | 45.24 | 47.63 | 69.64 | 4.02 | NS | NS | NS | NS | NS | NS | NS | ph probe on its way out, treat values skeptically
Intake at Campus Dr | 2021-05-28 | 0.38472 | in situ probe |  | N | Sunny weather | Med |  | NA | 6.65 | 19.2 | 1.493 | 1.581 | 1.643 | 0.2 | NS | NS | NS | NS | NS | NS | NS | The water is really muddy with dissolved solids throughout. ph probe on its way out, treat values skeptically
Upper Marsh | 2021-05-28 | 9.45 | in situ probe |  | N |  | Med rising | 2.4 | NA | 6.08 | 20.3 | 3.07 | 3.934 | 4.351 | 0.21 | NS | NS | NS | NS | NS | NS | NS | ph probe on its way out, treat values skeptically
Pond 8 | 2021-05-28 | 0.44792 | wade in |  | N |  | High rising | 2.8 | NA | 6.94 | 23.6 | 7.755 | 8.221 | 9.75 | 3.32 | 24.2 | NS | NS | NS | NS | NS | NS | ph probe on its way out, treat values skeptically
Lower Marsh | 2021-05-28 | 0.48958 | wade |  | N |  | High | 1 | NA | 6.91 | 22 | 6.94 | 7.347 | 8.504 | 2.86 | 23.6 | NS | NS | NS | NS | NS | NS | ph probe on its way out, treat values skeptically
Middle Marsh | 2021-06-15 | 0.84514 | kayak | JEC, MP | Y |  |  | 1.7 |  | NA | 23.5 | NA | NA | NA | 5.71 | NA | NA | NA | NA | NA | NA | NA
Pond 11 | 2021-06-15 | 0.85208 | kayak | JEC, MP | Y |  |  | 4 |  | NA | 23.8 | NA | NA | NA | 1.44 | NA | NA | NA | NA | NA | NA | NA | height observed by algae
Pond 8 | 2021-06-15 | 0.86042 | kayak | JEC, MP | Y |  |  | 2.6 |  | NA | 24.1 | NA | NA | NA | 6.24 | NA | NA | NA | NA | NA | NA | NA | fish found in water
Middle Marsh | 2021-06-16 | 0.22986 | kayak | JEC, MP | Y |  |  | 1.6 |  | NA | 23.3 | NA | NA | NA | 0.81 | NA | NA | NA | NA | NA | NA | NA | zooplankton daphnea?
Pond 11 | 2021-06-16 | 0.24167 | kayak | JEC, MP | Y |  |  | 4 |  | NA | 22.9 | NA | NA | NA | 0.25 | NA | NA | NA | NA | NA | NA | NA
Pond 8 | 2021-06-16 | 0.25417 | kayak | JEC, MP | Y |  |  | 2.3 |  | NA | 22.5 | NA | NA | NA | 2.38 | NA | NA | NA | NA | NA | NA | NA
Middle Marsh | 2021-06-16 | 0.83333 | kayak | JEC, MP | Y |  |  | 1.6 |  | NA | 25.5 | NA | NA | NA | 4.34 | NA | NA | NA | NA | NA | NA | NA | height observed invertebrats present
Pond 11 | 2021-06-16 | 0.84514 | kayak | JEC, MP | Y |  |  | 4 |  | NA | 25.2 | NA | NA | NA | 1.63 | NA | NA | NA | NA | NA | NA | NA
Pond 8 | 2021-06-16 | 0.85556 | kayak | JEC, MP | Y |  |  | 2.3 |  | NA | 24.9 | NA | NA | NA | 5.47 | NA | NA | NA | NA | NA | NA | NA | do 5
Intake at Campus Dr | 2022-01-28 | 0.35417 | Drop in | Maya, Hannah, Mariam, Moises | N | 54 sunny to partly cloudy | - | NA | NA | 7.6 | 10 | 4.857 | 2.402 | 2.539 | 2.46 | 10 | NS | NS | NS | NS | NS | NS | Looks oily, some debris. using MTC for temp based on DO probe temp
Upper Marsh | 2022-01-28 | 0.37014 | Drop in | Maya, Hannah, Mariam, Moises | N | 54 sunny to partly cloudy | - | 3.6 | - | 7.49 | 10 | 4.905 | 2.425 | 2.594 | 1.52 | 10 | NS | NS | NS | NS | NS | NS | slightly oily
Middle Marsh | 2022-01-28 | 0.38681 | Drop in | Maya, Hannah, Mariam, Moises | N | 54 sunny to partly cloudy | - | 3.7 | - | 7.52 | 10 | 4.8 | 2.371 | 2.531 | 0.93 | 10 | NS | NS | NS | NS | NS | NS | MTC was not calibrated so values at 24C need to be corrected; DO strangely low
Pond 11 | 2022-01-28 | 0.40417 | Shallow shelf reading | Maya, Hannah, Mariam, Moises | N | 54 sunny to partly cloudy | - | 5.9 | NA | 7.69 | 10 | 8.639 | 4.266 | 4.74 | 2.63 | 10 | NS | NS | NS | NS | NS | NS | higher TDS and salinity & conductivity
Pond 8 | 2022-01-29 | 0.36875 |  |  | N | 56F, cloudy, chilly | Med | 4.2 | NA | 7.98 | 10 | 4.169 | 2.068 | 2.102 | 9.13 | 10 | NS | NS | NS | NS | NS | NS | sample location halfway between staff and shoreline
Pond 3 | 2022-01-29 | 0.38611 |  |  | N | 56F, cloudy, chilly | Med | 3.5 |  | 7.41 | 10 | 8.025 | 3.965 | 4.22 | 5.39 | 10 | NS | NS | NS | NS | NS | NS | no staff, sampled at boundry w/ reeds
Upper SD creek | 2022-01-29 | 0.40278 |  |  | N | 56F, cloudy, chilly | Med | 1 | NA | 8.36 | 9.1 | 8.85 | 4.373 | 4.678 | 14.77 | 9.1 | NS | NS | NS | NS | NS | NS | adjusted temp manually
Middle SD creek | 2022-01-29 | 0.42083 |  |  | N | 56F, cloudy, chilly | Med | NA | NA | 8.33 | 11.5 | 55.32 | 26.98 | 34.74 | 13.56 | 11.5 | NS | NS | NS | NS | NS | NS | at intake, used extended pole sampler
Lower SD creek | 2022-01-29 | 0.44097 |  |  | N | 56F, cloudy, chilly | Med | NA | NA | 8.59 | 11.5 | 54.51 | 26.95 | 34.83 | 15.22 | 11.5 | NS | NS | NS | NS | NS | NS | at mid tide/tide falling
Intake at Campus Dr | 2022-02-04 | 0.35417 |  |  | N | 59F, sunny, clear skies |  | NA |  | 7.89 | 7.9 | 7.333 | 3.617 | 3.892 | 4.13 | 7.9 | NS | NS | NS | NS | NS | NS | water level lower than last week
Lower marsh | 2022-02-04 | 0.41597 |  |  | N | 59F, sunny, clear skies |  | 2.58 |  | 7.67 | 7.9 | 5.319 | 2.634 | 2.766 | 0.5 | 7.9 | NS | NS | NS | NS | NS | NS | was able to sample
Middle Marsh | 2022-02-04 | 0.37083 |  |  | N | 59F, sunny, clear skies |  | 3.4 |  | 7.54 | 7.9 | 7.355 | 3.636 | 3.904 | 4.28 | 7.9 | NS | NS | NS | NS | NS | NS | used extended pole sampler
Pond 11 | 2022-02-04 | 0.39236 |  |  | N | 59F, sunny, clear skies |  | 5.7 |  | 7.82 | 7.9 | 13.33 | 6.951 | 7.375 | 5.33 | 7.9 | NS | NS | NS | NS | NS | NS
Middle Marsh | 2022-02-18 | 0.24653 | sampled off dock | Mariam, Maya, Megan | Y |  |  | too dark |  | 6.78 | 10.2 |  |  |  | 18.46
Pond 11 | 2022-02-18 | 0.26389 |  | Mariam, Maya, Megan | Y |  |  | 5.6 |  | 7.13 | 8.1 |  |  |  | 7.13
Pond 8 | 2022-02-18 | 0.26389 |  | Mariam, Maya, Megan | Y |  |  | 4 |  | 5.54 | 7.9 |  |  |  | 13.11
Pond 3 | 2022-02-18 | 0.28819 |  | Mariam, Maya, Megan | Y |  |  | - |  | 6.88 | 7.6 |  |  |  | 5.22
Hoag Pond | 2022-02-18 | 0.29375 |  | Mariam, Maya, Megan | Y |  |  | - |  | 6.95 | 7.9 |  |  |  | 6.95
Middle Marsh | 2022-02-18 | 0.77222 | using extended pole sampler | Hannah, Merav | Y |  |  | - |  | 6.78 | 11.6 |  |  |  | 7.13
Pond 11 | 2022-02-18 | 0.78542 |  | Hannah, Merav | Y |  |  | - |  | 7.18 | 11.5 |  |  |  | 6.42
Pond 8 | 2022-02-18 | 0.80347 |  | Hannah, Merav | Y |  |  | - |  | 7.54 | 13.1 |  |  |  | 11.79
Pond 3 | 2022-02-18 | 0.83472 |  | Hannah, Merav | Y |  |  | - |  | 6.99 | 10.3 |  |  |  | 5.42
Hoag Pond | 2022-02-18 | 0.82292 |  | Hannah, Merav | Y |  |  | - |  | 7.13 | 10.2 |  |  |  | 10.67
Middle Marsh | 2022-02-19 | 0.25347 | using extended pole sampler | Mariam, Maya, Megan | Y |  |  | - |  | 6.78 | 7.8 |  |  |  | 4.87
Pond 11 | 2022-02-19 | 0.26458 |  | Mariam, Maya, Megan | Y |  |  | 5.3 |  | 7.16 | 8.4 |  |  |  | 5.21
Pond 8 | 2022-02-19 | 0.28125 |  | Mariam, Maya, Megan | Y |  |  | 4 |  | 7.56 | 10.7 |  |  |  | 13.73
Pond 3 | 2022-02-19 | 0.29861 |  | Mariam, Maya, Megan | Y |  |  |  |  | 6.99 | 7.5 |  |  |  | 4.17
Hoag Pond | 2022-02-19 | 0.29167 |  | Mariam, Maya, Megan | Y |  |  |  |  | 6.99 | 8.1 |  |  |  | 4.42
Intake at Campus Dr | 2022-04-30 | 0.38194 |  | Maya, Hannah | N | clear and sunny |  | low |  |  | 22.3 | 9.499 | 3.395 | 3.695 | 4.16 | 22.3 | NS | NS | NS | NS | NS | NS | low bulrush fuzz green
Middle Marsh | 2022-04-30 | 0.44792 |  | Maya, Hannah | N | clear and sunny |  | 2.7 |  | 8.14 | 24.9 | 11.39 | 3.537 | 3.961 | 3.76 | 24.9 | NS | NS | NS | NS | NS | NS | none
Pond 11 | 2022-04-30 | 0.39583 |  | Maya, Hannah | N | clear and sunny |  | 5.7 |  | 7.4 | 23 | 20.24 | 7.212 | 8.315 | 0.85 | 23 | NS | NS | NS | NS | NS | NS | red brown water, very sludgy, sticky, more vegetation
Pond 8 | 2022-04-30 | 0.41319 |  | Maya, Hannah | N | clear and sunny |  | 3.5 |  | 7.96 | 25.4 | 20.87 | 7.451 | 8.626 | 3.92 | 25.4 | NS | NS | NS | NS | NS | NS | none
Pond 5 | 2022-04-30 | 0.42361 |  | Maya, Hannah | N | clear and sunny |  | NA |  | 7.5 | 22.9 | 14.38 | 5.11 | 5.817 | 1.83 | 22.9 | NS | NS | NS | NS | NS | NS | sampled by reeds
Pond 3 | 2022-05-01 | 0.39236 |  | Maya, Julie | N | cloudy and cool |  | 4.5 |  | 6.42 | 18.9 | 11.82 | 4.402 | 5.129 | 1.36 | 22.6 | NS | NS | NS | NS | NS | NS | sampled in reeds; water depth estimated
Lower Marsh | 2022-05-01 | 0.40972 |  | Maya, Julie | N | cloudy and cool |  | 2.8 |  | 6.43 | 19 | 11.55 | 4.135 | 4.581 | 4.06 | 26.5 | NS | NS | NS | NS | NS | NS | from staff; lots of zooplankton
Middle SD creek | 2022-05-01 | 0.37708 |  | Maya, Julie | N | cloudy and cool | Med | mid to low |  | 6.41 | 18.3 | 31.13 | 11.15 | 13.54 | 7.69 | 23.4 | NS | NS | NS | NS | NS | NS | mid tide, water still flowing towards bay
Lower SD creek | 2022-05-01 | 0.35972 | extended pole sampler | Maya, Julie | N | cloudy and cool | Med, rising high | NA |  | 6.42 | 17.1 | 20.64 | 8.1 | 9.446 | 9.11 | 22.1 | NS | NS | NS | NS | NS | NS | mid tide, rising high in 3-4 hrs, sampled with extended pole
Middle Marsh | 2022-06-09 | 0.23819 | Kayak | Maya, Hannah, Moises | Y | cloudy and cool |  | 1.7 |  | 8 | 21 | 14.99 | 5.378 |  | 3.64
Pond 11 | 2022-06-09 | 0.25556 | Kayak | Maya, Hannah, Moises | Y | cloudy and cool |  | 4.8 |  | 7.98 | 22.1 | 24.52 | 8.702 |  | 3.6
Pond 8 | 2022-06-09 | 0.26458 | Kayak | Maya, Hannah, Moises | Y | cloudy and cool |  | 2.8 |  | 8 | 22 | 25.88 | 9.245 |  | 7.02
Pond 3 | 2022-06-09 | 0.27778 | Wade | Maya, Hannah, Moises | Y | cloudy and cool |  | 2.5 n/a |  | 7.5 | 21.6 | 14.3 | 5.108 |  | 9.65
Middle Marsh | 2022-06-09 | 0.85764 | Kayak | Maya, Hannah, Merav | Y | cloudy and windy |  | "too dark to tell" |  | 8.33 | 22.4 | 8.87 | 4.428 |  | 9.04
Pond 11 | 2022-06-09 | 0.87361 | Kayak | Maya, Hannah, Merav | Y | cloudy and windy |  | 4.8 |  | 7.97 | 21.7 | 24.55 | 8.768 |  | 6.37
Pond 8 | 2022-06-09 | 0.88542 | Kayak | Maya, Hannah, Merav | Y | cloudy and windy |  | 2.8 |  | 8.56 | 20.4 | 26 | 9.288 |  | 10.37
Pond 3 | 2022-06-09 | 0.89931 | Wade | Maya, Hannah, Merav | Y | cloudy and windy |  | 2.5 n/a |  | 8 | 21.3 | 14.33 | 5.118 |  | 1.69
Middle Marsh | 2022-06-10 | 0.22917 | Kayak | Merav, Moises | Y | fog |  | 1.7 |  | 8.1 | 15.6 | 12.93 | 5.614 |  | 9.18
Pond 11 | 2022-06-10 | 0.24444 | Kayak | Merav, Moises | Y | fog |  | 4.8 |  | 7.93 | 20.3 | 24.66 | 8.811 |  | 2.18
Pond 8 | 2022-06-10 | 0.2625 | Kayak | Merav, Moises | Y | fog |  | 2.8 |  | 7 | 22.9 | 26.13 | 9.34 |  | 6.68
Pond 3 | 2022-06-10 | 0.27917 | Wade | Merav, Moises | Y | fog |  | blank |  | 7 | 20.1 | 14.38 | 5.135 |  | 1.48
Lower Marsh |  |  | wade in |  | N |  |  | 2.4 | NS | 6.58 | 15.7 | 3.078 | 4.129 | 5.32 | 25.21 |  | NS | NS | NS | NS | NS | NS | oil like substance on the water surface
Pond 11 |  | 0.42847 | kayak |  | N | Wind blowing nw, decent wind, sunny |  | 4.6 | NS | 6.84 | 23.2 | 7.224 | 7.653 | 8.937 | 1.75 | 24.2 | 22 | 7.298 | 7.731 | 8.985 | 6.9 | 1.23 | ph probe on its way out, treat values skeptically
Pond 5 |  | 0.46875 | in situ probe |  | N | Wind blowing nw, decent wind, sunny |  | 3.5 | NS | 6.93 | 24 | 5.731 | 6.082 | 6.948 | 4.55 | 24.7 | NS | NS | NS | NS | NS | NS | ph probe on its way out, treat values skeptically
Upper marsh | 2022-11-30 | 0.4 |  | Ellen Tipping | N |  |  | 3 | [14 empty] | slight lean to left
Middle marsh | 2022-11-30 | 0.39583 |  | Ellen Tipping | N |  |  | 2.8 | [14 empty] | northern shovelers
Pond 5 | 2022-11-30 | 0.43056 |  | Ellen Tipping | N |  |  | 0 | [14 empty] | all vegetation
Pond 8 | 2022-11-30 | 0.41528 |  | Ellen Tipping | N |  |  | 0 | [14 empty] | staff 0 but residual puddle
Pond 10 | 2022-11-30 | 0.40625 |  | Ellen Tipping | N |  |  | 0 | [14 empty] | dry
Pond 11 | 2022-11-30 | 0.41042 |  | Ellen Tipping | N |  |  | 2 | [14 empty] | too dirty to read well, rushes must be cleared
Hoag Pond | 2022-11-30 | 0.42639 |  | Ellen Tipping | N |  |  | 0 | [14 empty] | dirty staff
Middle Marsh | 2023-05-23 | 0.22569 |  | AT, JL, JC | Y |  |  | 3.9 |  | - | 18.3 | 2.431 | 0.627 |  | 0 | [7 empty] | Rails nesting very close
Pond 11 | 2023-05-23 | 0.25208 |  | AT, JL, JC | Y |  |  | 5.5 |  | 7.16 | 17.9 | 5.495 | 1.492 |  | 1.16 | [7 empty] | 1ft from reeds too high
Pond 8 | 2023-05-23 | 0.26319 |  | AT, JL, JC | Y |  |  | 4.23 |  | 8.2 | 20.2 | 4.985 | 1.445 |  | 11.34 | [7 empty] | some algae mats
Pond 3 | 2023-05-23 | 0.27986 |  | AT, JL, JC | Y |  |  | NA |  | 6.48 | 18.1 | 2.568 | 0.6861 |  | 0.96 | [7 empty] | brown water with bubbles
Middle Marsh | 2023-05-23 | 0.82292 |  | JC, AT, PT, HV | Y |  |  | 4 |  | 6.56 | 18.4 | 2.422 | 0.6528 |  | 2.55 | [7 empty] | left open clearing pond sample
Pond 11 | 2023-05-23 | 0.83681 |  | JC, AT, PT, HV | Y |  |  | 5.5 |  | 5.35 | 18.3 | 5.448 | 1.495 |  | 2.32 | [7 empty] | algae third of the way to staff
Pond 8 | 2023-05-23 | 0.84375 |  | JC, AT, PT, HV | Y |  |  | 3 |  | 5.96 | 20.7 | 4.951 | 1.439 |  | 8.56 | [7 empty] | algae common across pond surface
Pond 3 | 2023-05-23 | 0.86111 |  | JC, AT, PT, HV | Y |  |  | NA |  | 3.33 | 18.3 | 2.512 | 0.6796 |  | 2.35 | [7 empty] | loose plant debris sediment/rocks
Middle Marsh | 2023-05-25 | 0.22569 |  | ML, HV, JL | Y |  |  | 4 |  |  | 17.5 | 2.653 | 0.6725 |  | 0 | [7 empty] | 6 min for DO to stabalize
Pond 11 | 2023-05-25 | 0.23819 |  | ML, HV, JL | Y |  |  | 5.2 |  |  | 31.5 | 4.436 | 2.02 |  | 1.29
Pond 8 | 2023-05-25 | 0.25 |  | ML, HV, JL | Y |  |  | 4.3 |  |  | 17.2 | 4.498 | 1.744 |  | 8.32
Pond 3 | 2023-05-25 | 0.26042 |  | ML, HV, JL | Y |  |  | NA |  |  | 16.6 | 2.576 | 0.8876 |  | 0.16 | [7 empty] | 10 min for DO
All samples taken below this done with new YSI Meter
Intake at Campus Dr | 2024-03-07 | 0.40208 | standing | Moises, Thanh, Nuria | N | cloudy morning, sunny and windy afternoon |  | NA | 28 in | 7.93 | 14.1 | NS | 0.768 | 0.75 | 6.23 | NS | NS | NS | NS | NS | NS | NS
Middle Marsh | 2024-03-07 | 0.44306 | kayak | Moises, Thanh, Nuria | N | cloudy morning, sunny and windy afternoon |  | 4.2 | NS | 7.28 | 14.1 | NS | 0.727 | 0.71 | 1.48 | NS | NS | NS | NS | NS | NS | NS | keep boat still because DO can jump
pond 11 | 2024-03-07 | 0.46597 | kayak | Moises, Thanh, Nuria | N | cloudy morning, sunny and windy afternoon |  | 5.4 | NS | 7.46 | 14.9 | NS | 1.71 | 1.15 | 5.04 | NS | NS | NS | NS | NS | NS | NS
Pond 8 | 2024-03-07 | 0.49514 | canoe | Moises, Thanh, Nuria | N | cloudy morning, sunny and windy afternoon |  | 3.7 | NS | 7.94 | 17.2 | NS | 2.125 | 2.04 | 6.68 | NS | NS | NS | NS | NS | NS | NS | waded as far as possible; past the reefs
Pond 3 | 2024-03-07 | 0.51806 | wade in | Moises, Thanh, Nuria | N | cloudy morning, sunny and windy afternoon |  | NA | NS | 7.05 | 16.3 | NS | 0.312 | 0.28 | 3.19 | NS | NS | NS | NS | NS | NS | NS
Middle Marsh | 2024-04-10 | 0.28056 | kayak | MP, HH, MH | Y |  |  | 4.1 | NS | NS | 14 | 1.114 | 0.725 | NS | 2.94 | NS | NS | NS | NS | NS | NS | NS | reed half height
Pond 11 | 2024-04-10 | 0.26875 | canoe | MP, HH, MH | Y |  |  | 5.4 | NS | NS | 15.5 | 2.57 | NS | NS | 5.83 | NS | NS | NS | NS | NS | NS | NS
Pond 8 | 2024-04-10 | 0.25208 | kayak | MP, HH, MH | Y |  |  | 3.7 | NS | NS | 18.4 | 3.466 | 2.258 | NS | 4.63 | NS | NS | NS | NS | NS | NS | NS
Pond 3 | 2024-04-10 | 0.23889 | wade | MP, HH, MH | Y |  |  | NA | NS | NS | 15.1 | 0.599 | 4.08 | NS | 4.41 | NS | NS | NS | NS | NS | NS | NS | 15-20% green reeds
Middle Marsh | 2024-04-11 | 0.87153 | kayak | TL, JC, WD, CI | Y |  |  | 4.2 | NS | NS | 18.4 | 1.24 | 0.801 | NS | 6 | NS | NS | NS | NS | NS | NS | NS
Pond 11 | 2024-04-11 | 0.85833 | canoe | TL, JC, WD, CI | Y |  |  | 5.4 | NS | NS | 18.2 | 2.795 | 1.818 | NS | 4.38 | NS | NS | NS | NS | NS | NS | NS
Pond 8 | 2024-04-11 | 0.84306 | kayak | TL, JC, WD, CI | Y |  |  | 3.7 | NS | NS | 21.5 | 3.734 | 2.43 | NS | 5.49 | NS | NS | NS | NS | NS | NS | NS
Pond 3 | 2024-04-11 | 0.825 | wade | TL, JC, WD, CI | Y |  |  | NA | NS | NS | 18.9 | 0.645 | 0.421 | NS | 3.87 | NS | NS | NS | NS | NS | NS | NS
Middle Marsh | 2024-04-11 | 0.2875 | kayak | MP, JG, AT | Y |  |  | 4.2 | NS | NS | 15.1 | 1.143 | 0.743 | NS | 2.4 | NS | NS | NS | NS | NS | NS | NS
Pond 11 | 2024-04-11 | 0.27986 | canoe | MP, JG, AT | Y |  |  | 4.5 | NS | NS | 16.5 | 2.648 | 1.723 | NS | 1.46 | NS | NS | NS | NS | NS | NS | NS
Pond 8 | 2024-04-11 | 0.25694 | kayak | MP, JG, AT | Y |  |  | 4.7 | NS | NS | 19.4 | 3.567 | 2.322 | NS | 3.62 | NS | NS | NS | NS | NS | NS | NS
Pond 3 | 2024-04-11 | 0.24514 | wade | MP, JG, AT | Y |  |  | NA | NS | NS | 15.9 | 0.601 | 0.391 | NS | 2.55 | NS | NS | NS | NS | NS | NS | NS
Middle Marsh | 2024-06-06 | 0.21875 |  | MP, JC | Y |  |  | 2.7 |  | 7.75 | 20.1 | 1.103 | 0.752 |  | 0.59 | [7 empty] | sampled with cap on
Pond 11 | 2024-06-06 | 0.23125 |  | MP, JC | Y |  |  | 5.5 |  | 7.86 | 20.8 | 2.842 | 1.849 |  | 1.74
Pond 8 | 2024-06-06 | 0.24236 |  | MP, JC | Y |  |  | 3.4 |  | 8.41 | 23.1 | 4.447 | 2.89 |  | 5.61
Pond 3 | 2024-06-06 | 0.25208 |  | MP, JC | Y |  |  | NA |  | 7.55 | 20.4 | 1.216 | 0.792 |  | 2.06
Middle Marsh | 2024-06-06 | 0.84167 |  | MP, WD, AT | Y |  |  | 2.7 |  | 7.85 | 23.6 | 1.643 | 1.0639 |  | 1.83
Pond 11 | 2024-06-06 | 0.86597 |  | MP, WD, AT | Y |  |  | 5.5 |  | 7.93 | 25 | 3.014 | 1.96 |  | 2.82
Pond 8 | 2024-06-06 | 0.87292 |  | MP, WD, AT | Y |  |  | 2.8 |  | 8.41 | 25 | 4.637 | 3.014 |  | 6.21
Pond 3 | 2024-06-06 | 0.89583 |  | MP, WD, AT | Y |  |  | NA |  | 7.64 | 22.3 | 1.269 | 0.825 |  | 2.06
Middle Marsh | 2024-06-06 | 0.22292 |  | TL, JC | Y |  |  | 2.7 |  | 7.73 | 20.6 | 1.54 | 1.002 |  | 0.39
Pond 11 | 2024-06-06 | 0.23542 |  | TL, JC | Y |  |  | 5.5 |  | 7.85 | 21.2 | 2.884 | 1.876 |  | 1.59
Pond 8 | 2024-06-06 | 0.25069 |  | TL, JC | Y |  |  | 3.3 |  | 8.36 | 23.5 | 4.498 | 2.925 |  | 5.47
Pond 3 | 2024-06-06 | 0.26597 |  | TL, JC | Y |  |  | NA |  | 7.62 | 20.8 | 1.231 | 0.801 |  | 1.65
Intake at Campus Dr | 2025-02-04 | 0.56875 | standing | JC, MP, TL | N |  |  | NA | NS | 7.71 | 14.9 | 2.525 | 1.645 | 1.64 | 3.48 | NS | NS | NS | NS | NS | NS | NS | IRWD, TDS Units: g/L
Middle Marsh | 2025-02-04 | 0.55486 | kayak | JC, MP, TL | N |  |  | 3.11 | NS | 7.4 | 13.3 | 2.94 | 1.919 | 2.01 | 3.48 | NS | NS | NS | NS | NS | NS | NS | IRWD sourced
Pond 11 | 2025-02-04 | 0.58542 | kayak | JC, MP, TL | N |  |  | 4.98 | NS | 7.9 | 15.2 | 8.04 | 5.22 | 5.59 | 9.3 | NS | NS | NS | NS | NS | NS | NS | IRWD/Creek, ran out of DI
Pond 8 | 2025-02-04 | 0.59792 | kayak | JC, MP, TL | N |  |  | 3.29 | NS | 8.67 | 15.1 | 14.73 | 9.6 | 10.79 | 13.77 | NS | NS | NS | NS | NS | NS | NS | IRWD/Creek Source
Pond 3 | 2025-02-04 | 0.60486 | wade, only until tule | JC, MP, TL | N |  |  | NA | NS | 7.21 | 13.2 | 9.44 | 6.04 | 6.85 | 5.8 | NS | NS | NS | NS | NS | NS | NS | C4eek, thick algae bloom, sampled in tule
Upper SD creek | 2025-02-04 | 0.62083 | extended pole sampler | JC, MP, TL | N |  |  | NA | NS | 8.66 | 17.5 | 6.59 | 4.292 | 4.27 | 14.75 | NS | NS | NS | NS | NS | NS | NS | IRWD
Intake at Campus Dr | 2025-02-27 | 0.3625 | standing | MP, BN, MT | N | 52f foggy |  | NA | NS | 7.8 | 15.6 | 2.025 | 1.318 | 1.28 | 4.92 | NS | NS | NS | NS | NS | NS | NS
Middle Marsh | 2025-02-27 | 0.375 | Kayak | MP, BN, MT | N | 52f foggy |  | 2.9 | NS | 7.44 | 14.3 | 2.553 | 1.659 | 1.68 | 2.21 | NS | NS | NS | NS | NS | NS | NS
Pond 10 | 2025-02-27 | 0.38403 | standing at dock | MP, BN, MT | N | 52f foggy |  | 2.9 | NS | 7.14 | 18 | 7.81 | 6.15 | 6.55 | 6.02 | NS | NS | NS | NS | NS | NS | NS | Conductivity fluctuated 7700-8400 micro siemens
Pond 8 | 2025-02-27 | 0.40069 | Kayak | MP, BN, MT | N | 52f foggy |  | 3.4 | NS | 7.71 | 16.9 | 13.09 | 8.5 | 9 | 0.22 | NS | NS | NS | NS | NS | NS | NS | conductivity fluctuated 13050-13090 micro siemens
Hoag | 2025-02-27 | 0.41875 | Wade in with extended pole sampler | MP, BN, MT | N | 52f foggy |  | NA | NS | 7.31 | 14.7 | 3.153 | 2.049 | 1.09 | 9.95 | NS | NS | NS | NS | NS | NS | NS | Walked to edge of reeds and used yellow pole
SDC Intake | 2025-02-27 | 0.43194 | Wade in with extended pole sampler | MP, BN, MT | N | 52f foggy |  | NA | NS | 8.44 | 18.6 | 6.204 | 4.024 | 3.88 | 11.7 | NS | NS | NS | NS | NS | NS | NS
Middle Marsh | 2026-03-12
Middle Marsh | 2025-03-19 | 0.25 | kayak | JC, JR | Y |  |  | 2.9 |  | 7.52 | 13.3 | 2.947 | 1.605 | 9.15 | 3.23
Pond 11 | 2025-03-19 | 0.26111 | kayak | JC, JR | Y |  |  | 5.4 |  | 7.63 | 13.9 | 5.58 | 3.633 | 7.63 | 7.56
Pond 8 | 2025-03-19 | 0.27083 | kayak | JC, JR | Y |  |  | 3.3 |  | 8.39 | 15.8 | 12.55 | 8.17 | 8.1 | 8.32
Hoag Pond | 2025-03-19 | 0.28819 | wade | JC, JR | Y |  |  | 4+ |  | 7.01 | 13.9 | 5.46 | 3.557 | 3.82 | 2.3
Middle Marsh | 2025-03-19 | 0.80486 | kayak | MP, AB, AF | Y |  |  | 3.14 |  | 7.52 | 16.8 | 2.966 | 1.755 | 1.68 | 6.12
Pond 11 | 2025-03-19 | 0.82014 | kayak | MP, AB, AF | Y |  |  | 5.4 |  | 7.8 | 16.7 | 6.01 | 3.906 | 3.95 | 10.06
Pond 8 | 2025-03-19 | 0.90764 | kayak | MP, AB, AF | Y |  |  | 3.38 |  | 8.49 | 17.4 | 13.61 | 8.86 | 8.95 | 10.01
Hoag Pond | 2025-03-19 | 0.83472 | wade | MP, AB, AF | Y |  |  | 4+ |  | 7.12 | 16.7 | 5.8 | 3.777 | 3.81 | 7.01
Middle Marsh | 2025-03-20 | 0.25486 | kayak | TL, CG | Y |  |  | 2.92 |  | 7.49 | 13.3 | 2.48 | 1.619 | 1.68 | 5.46
Pond 11 | 2025-03-20 | 0.26875 | kayak | TL, CG | Y |  |  | 5.4 |  | 7.7 | 13.8 | 5.553 | 3.63 | 3.93 | 8.65
Pond 8 | 2025-03-20 | 0.28056 | kayak | TL, CG | Y |  |  | 3.38 |  | 8.32 | 16.2 | 12.718 | 8.22 | 8.92 | 8.32
Hoag Pond | 2025-03-20 | 0.29097 | wade | TL, CG | Y |  |  | 4+ |  | 7.7 | 13.9 | 3.47 | 3.555 | 3.83 | 5.44
Middle Marsh | 2025-05-20 | 0.21875 |  | CH, JC, JB | Y |  |  | 3.1 |  | - | 18.6 | 2.809 | 1.8 |  | 1.3 | [7 empty] | Sampled by Amy's class
Pond 8 | 2025-05-20 | 0.22917 |  | CH, JC, JB | Y |  |  | 2.9 |  | - | 21.8 | 1.801 | 12.23 |  | 8.31 | [7 empty] | warm shallow algae?
Hoag Pond | 2025-05-20 | 0.23819 |  | CH, JC, JB | Y |  |  | 4.2 |  | - | 20.8 | 10.205 | 6.63 |  | 5.28
Middle Marsh | 2025-05-21 | 0.84514 |  | SL, SN, EM, SM | Y |  |  | 4.1 |  | - | 22 | 2.99 | 1.948 |  | 6.13
Pond 8 | 2025-05-21 | 0.85833 |  | SL, SN, EM, SM | Y |  |  | 2.7 |  | - | 25.6 | 20.88 | 13.16 |  | 10.42
Hoag Pond | 2025-05-21 | 0.87222 |  | SL, SN, EM, SM | Y |  |  | NA |  | - | 23.8 | 10.77 | 7.05 |  | 7.2
Middle Marsh | 2025-05-21 | 0.22292 |  | MM, LR, AH | Y |  |  | 3.1 |  | - | 19.3 | 2.844 | 1.853 |  | 1.89 | [7 empty] | Stinky
Pond 8 | 2025-05-21 | 0.23611 |  | MM, LR, AH | Y |  |  | 2.6 |  | - | 22.9 | 19.326 | 12.56 |  | 7.33
Hoag Pond | 2025-05-21 | 0.24583 |  | MM, LR, AH | Y |  |  | 3 |  | - | 21.5 | 10.393 | 6.76 |  | 3.38
Middle Marsh | 2025-07-22 | 0.55556 | Wading | HS Interns | N |  |  | 1.5 | ft | 8.12 | 26 | 4765 μs/cm | 3.101 g/L | 2.45 | 6.72
Pond 11 | 2025-07-22 | 0.61458 | Wading | HS Interns | N |  |  | 3.4 | ft | 8.6 | 27.3 | 11767 μs/cm | 7.65 g/L | 6.5 | 12.29
Pond 8 | 2025-07-22 | 0.56944 | Wading | HS Interns | N |  |  | 1.6 | ft | 8.02 | 26.6 | 29448 μs/cm | 19.14 g/L | 17.61 | 6.83
Intake | 2025-07-22 | 0.63889 | Wade in with extended pole sampler | HS Interns | N |  |  | 8.27 | ft | 8.27 | 27 | 18191 μs/cm | 11.75 g/L | 10.31 | 9.4
Middle Marsh | 2026-01-22 | 0.36736 | Kayak | JC, TL, CEB interns | N |  |  | 2.75 | ft | 7.15 | 13 | 1873 μs/cm | 1.217 | 1.26 | 6.42
Pond 11 | 2026-01-22 | 0.38472 | Kayak | JC, TL, CEB interns | N |  |  | 5.6 | ft | 7.24 | 13.3 | 4378 μs/cm | 2.861 | 3.08 | 8.32
Pond 8 | 2026-01-22 | 0.40278 | Kayak | JC, TL, CEB interns | N |  |  | 3.9 | ft | 7.34 | 14.5 | 7353 μs/cm | 4.78 | 5.17 | 8.03
Hoag Pond | 2026-01-22 | 0.42153 | Kayak | JC, TL, CEB interns | N |  |  | 2.8 | ft | 7.33 | 12.9 | 652 μs/cm | 0.4245 | 0.42 | 9.25
Lower Marsh | 2026-01-22 | 0.44028 | Kayak | JC, TL, CEB interns | N |  |  | 1.8 | ft | 7.28 | 11.4 | 935 μs/cm | 0.597 | 0.62 | 8.85
Middle Marsh | 2026-03-12 | 0.25694 |  | JEC, DM | Y |  |  | 3.3 |  | 7.25 | 15.7 | 2.08 | 1.351 | 1.31 | 0.39
Pond 11 | 2026-03-12 | 0.26667 |  | JEC, DM | Y |  |  | - |  | 7.31 | 16 | 5.713 | 3.715 | 3.9 | 1.18
Pond 8 | 2026-03-12 | 0.27778 |  | JEC, DM | Y |  |  | 3.8 |  | 7.66 | 8.5 | 8.545 | 5.56 | 5.53 | 2.39
Pond 3 | 2026-03-12 | 0.28819 |  | JEC, DM | Y |  |  | NA |  | 7.46 | 14.9 | 3.117 | 2.026 | 2.05 | 5.33
Middle Marsh | 2026-03-12 | 0.80972 |  | MP, AH, GB, LK | Y |  |  | 3.3 |  | 7.35 | 19.5 | 2.319 | 1.505 | 1.34 | 1.49
Pond 11 | 2026-03-12 | 0.82361 |  | MP, AH, GB, LK | Y |  |  | 5.5 |  | 7.45 | 19.2 | 6.145 | 3.98 | 3.82 | 1.52
Pond 8 | 2026-03-12 | 0.83819 |  | MP, AH, GB, LK | Y |  |  | 3.9 |  | 7.72 | 21.8 | 9.285 | 6.04 | 5.57 | 3.6
Pond 3 | 2026-03-12 | 0.85625 |  | MP, AH, GB, LK | Y |  |  | NA |  | 7.49 | 18.4 | 3.369 | 2.206 | 2.08 | 6.9
Middle Marsh | 2026-03-12 | 0.24861 |  | HV, TL, DN | Y |  |  | 3.3 |  | 7.25 | 16.1 | 2.114 | 1.374 | 1.32 | 0.61
Pond 11 | 2026-03-12 | 0.25903 |  | HV, TL, DN | Y |  |  | 5.6 |  | 7.35 | 16.3 | 5.579 | 3.747 | 3.81 | 1.51
Pond 8 | 2026-03-12 | 0.28194 |  | HV, TL, DN | Y |  |  | 3.8 |  | 7.76 | 19.1 | 8.767 | 5.7 | 5.59 | 3.15
Pond 3 | 2026-03-12 | 0.27361 |  | HV, TL, DN | Y |  |  | NA |  | 7.55 | 15.3 | 3.166 | 2.065 | 2.06 | 5.49